ACD-RPT-000070                                                                                          AM, 11/04/02

                                                                                      Flight/Tests/Tomography/Results.doc

                 Report on the Vibration tile performance tests

Experimental method. The task of these measurements was to study the tile performance before vibrations, between vibration regimes,  and after the vibrations. The method used is called “tomography”, where the light yield map is being produced for the tested tile. The instrument to map the tile light yield is “hodoscope” , which consists of two orthogonally-positioned  8-strip detectors. 

[image: image1.bmp][image: image2.bmp]                                                                      Upper 32cm by 32cm triggering tile

[image: image3.jpg]Tomagraphy test for the Vib. test tile




[image: image4.jpg]15
1.25

075

05

15
1.25

075
05

15
1.25

075

o5

: 15 ; 15
r 1 — 1256 2* 1.25
o e o LY gt
E=nilll WA RPTHY & J o
F— 08 gy 9,
; 15 ; 15
e 4* 125 — 5* 1.25
L. /m-h-\r = d,sbeqf 1
[Ldi] 075 o] 075
| SR PrYER. 0s
- 15 ;
|- 7, 1,25 [ B,
= e fﬁ\’
O R PR .
o 05 gy




                                                                       X-direction hodoscope array 

[image: image5.jpg]Tomography for Vib. tile after first test

15 : 15 T 5 .
1.25 T 1.25 — + = 1.25 +
1 ’/AN’ e H | 1
o7s [ ~ el ——1s S —
05 - 05 - 05 -
o 5 13 5 a B
5 : 15 . 15 .
4 5
125 bt 25 b 125 +
1 —%— 1 —M 1
075 ] 075 - SS—
0.5 - 0. - 05 -
o 5 o 5 o B
15 : 15 ,
- 8
125 b 25 —
M aans s ! ’M’
o7 s o
05 L 0 L




[image: image6.jpg]Tomography for Vib. tile, after second test

e i e
125~ T ", 1.25 T 2* 1.25 |- *:
o | R S B
P ik (S G P T
05 L 05 L 05 L
e S N

8 e 18 e 8 e

4 5

Sy SRR DR s SRR RACIE Iy SN

05, . 0. - 05 -

o 5 o s o B
s ; 15 .
- 8
L A e
! [y U |
e el D G PN & b
0.5 _ 0. L




                                                                       Tested tile

[image: image7.jpg]Tomography after ALL vibrations

s 1
1 3
L ; [ ; 128 [
S P o— O
E=aat i ; P e
L o5 L o5 L
b 0 0 0 v s
s s
4 5 6
L ; [ : ) E—
/.‘..@. U s 1 m
L : oz : Py Sed—
s G oty > Eh Z
i
o 8
L s
i - i




[image: image8.jpg]12

08

12

08

Tomography test for Vibration tile, Summary

- i e TN LELE]
1 2 3
L 4 = 4 = /%
-z MF S G R £ ol B
| | |
B F— Ea—
F I 4 12F I 9 2fF T —
4 5 6
F ?fm&;— 1 V,F‘V‘Y iF %,
P 08 o] 0 P ]
| | |
B Ea— Ea—
Black — before tests.
Red — ofter 1—st axis
Blue — after two axes
Violet — after all axes




                                                                        Y-direction hodoscope array    

                                                                        Lower 32cm by 32cm triggering tile.

        Fig.1   Experimental setup.

 Each hodoscope array consists of eight 4cm by 32cm scintillating strips. X- and Y-direction arrays are positioned orthogonally to each other, so selecting the coincidence between pair of strips in X- and Y-hodoscope, we will know the 4cm by 4cm box position of the muon crossing the tested tile. Selecting the signals from tested tile according to this principle, the light yield map with 4cm by 4cm pixels can be created.


                                                                      F1 

P8

P7                                                                                  fibers 


P6                                                                                                  connector


P5

P4


P3

P2

                                                                     F2

P1                                                                 F3 
           T1   T2    T3    T4   T5   T6    T7   T8


       Fig.2. Mapping of the tested tile. Blue lines show X-direction hodoscope, which is along the fibers in the tile, with corresponding hodoscope strip numbers (P1 to P8, in blue), and black lines show the Y-direction hodoscope (across the fibers), with corresponding strip numbers T1 to T8, in black. Dashed red lines labeled by F1, F2, and F3, show damaged fibers (see section below). P2 hodoscope strip did not work, so the measurements for P2 are missed in the plots.

The tile.    Before the vibration tests the tile was checked visually on the subject of defects. It was found that 3 fibers had defects – fiber F1, which is just the edge fiber, is semi-broken (has a sharp kink), fibers F2 and F3 (the very edge and the next to it) have bright rings. These rings indicate the cracks in the cladding; there could be some light leak through these cracks out of fiber (believed to be a minor effect). These defects probably occurred during tile shipping from FNAL, because these tiles have not been annealed before shipping. The annealing is a mandatory procedure, and these tiles were annealed here at GSFC after receiving. 














Conclusion. The tile was unwrapped and visually inspected between all vibration regimes and after all vibrations completed. No visible changes in respect to that observed before the tested have been found. Looking at the resulting measurements plots in fig.8, we can conclude that the light yield through the vibrations is well within required 10% variation, meaning that the tile successfully passed the vibration tests.  There is one concern about panel 8 in fig.8 where the initial light yield (black line) is approximately 15% higher than all others. This box corresponds to the area where the “semi-broken” fiber is located. I can explain this light decrease by increasing crack in a fiber which was already broken before the vibrations. I believe this is completely understandable effect, and it occurred only because the fiber was already broken. If it would not so, there would be a reason to consider the test failed. 

Fig. 3.  Tomography test before vibrations.  Numbering on the axes correspond to the hodoscope strip number. The points represent the relative light yield from corresponding pixel in the tested tile. The edge effects are seen as a decrease of the light yield at the edges; also the light attenuation in the fibers embedded in the tile is seen as lower light yield at farest from the connector tile side (T=1) in respect to the closest side (T=8). Black lines correspond to PMT1, and the red ones – to PMT2 from the tested tile.





T





P





Fig.4 . Light yield mapping before vibrations (detailed view). Each box corresponds to single X-direction strip (P) with the number provided in the right upper corner of each box. The numbers of T-strips are given at X-axes of the plots. 





Fig.5. Light yield mapping after the first axis vibration. 





Fig.6. Light yield mapping after the second axis vibration.





Fig.7. Light yield mapping after all vibrations.





Fig.8. Comparison of the light yield through all vibrations (resulting plots)








