LAT-MD-02730-01
GLAST LAT I&T Subsystem Test Plan
Page 42 of 3

 Special Test Request
Page 1 of 3

Special Test Request Form

	
	STR Number 21.aaa

	Part 1 – Test Definition Section

	Test Title:  ACD channel uniformity test
	Test Requestor:  Su Dong, Martin Kocian and Eric Grove

	Test Purpose and Justification:

The GEM ROI and CNO trigger arrival time and PHA gain uniformity will be measured with charge injection.  In order that this test may be performed prior to the LAT CPT – ACD section, as a first step, the ACD tile to GEM veto list channel map will be verified. 
Given the extensive ACD control logic in the GASU, a portion of this test will be carried out on the GASU redundant side.

The ACD trigger electronics timing and gain uniformity are basic information required for interpreting the quality of trigger signals from particle tests.       

	Test Description:

With the ACD installed on the LAT and connected to the GASU, the following tests will be performed:

1. Charge injection at muon signal level on a single tile at a time, check the GEM veto list to verify the channel map. Record the GEM ROI signal arrival time to check channel timing uniformity.  

2. Charge injection at maximum level on a single tile at a time, and lower HLD threshold to just above noise to observe the CNO trigger at GEM.  Check the CNO trigger being set and arrival time tile by tile.   

3. Run test 1 using the redundant side of GASU.
Note that portions of elements 1 and 2 overlap with portions of the ACD Full Functional.  The additional information here is the GEM ROI and CNO arrival time distributions.

	GSE Configuration: 

Current configuration with the addition of the BPU and with LATTE 4.x installed. 

	LAT Configuration:

Eight Towers in the Grid, EM GASU, EM PDU, and ACD installed with flight cables.  

	Expected Results/Acceptance Criteria:

1) GEM ACD veto list agrees with expectation and fires GEM ROI for each tile.

2) GEM CNO fires for each tile during the CNO test.

3) GEM arrival time uniformity for ROI and CNO. 

	Expected Duration:

 TBD

	Expected Analysis Duration:

Results will be available online.

	Test Procedure:

1) Power on GASU and ACD, while keeping the towers powered off 

2) Loading script with best guess parameter from previous ACD and GASU tests and set charge injection DAC to normal muon level. 
3) Tune delays and stretches:  Run charge injection test with a single tile enabled, and examine ROI arrival time, GEM veto tile list, AEM hit map and pulse height information.  Adjust parameters to reproduce desired output as referenced to the test with miniLAT and/or Qual ACD teststand.

4) Measure uniformity:  Run charge injection test looping through all tiles with a single tile enabled at a time, and record ROI arrival time, GEM veto tile list, AEM hit map, and PHA information for online display of uniformity.  Also report on the check for consistency of veto list and hit map for each enabled tile.   

5) Set charge injection DAC to maximum and lower the HLD thresholds guided by calibrations from ACD team, to examine observed GEM CNO signal and arrival time by looping through tiles, one tile at a time.

6) Power off GASU, switch over to B side, then power up.  Repeat step 3) to check consistency of results with step 3).           

	Test Scripts:

To be named  (being developed by Martin Kocian).  Scripts rely on calibration information from ACD team.



	Part 2 – Impact Assessment Section

	Procedure development:

 

	Script development and checkout:

Martin Kocian



	Impact to schedule:

 

	Risk Assessment:



	Required Resources:

.  

	Other Affected Parties:



	Part 3: Signature Approval:

	Required Authorizations
	Printed Name
	Signature
	Date

	Quality
	Joe Cullinan
	
	

	I&T
	Elliott Bloom
	
	

	Program Office
	Lowell Klaisner or Dick Horn
	
	

	Systems Engineering
	Pat Hascall
	
	

	Affected S/S managers
	N/A
	
	

	Instrument Scientist
	Steve Ritz or Eduardo do Couto e Silva
	
	

	ACD
	Dave Thompson
	
	

	CAL
	Eric Grove
	
	

	DAQ
	Mike Huffer
	
	

	TKR
	Hiro Tajima
	
	

	Trigger
	Su Dong
	
	



Hard copies of this document are for REFERENCE ONLY and should not be


considered the latest revision beyond.


DRAFT

